**Airway Kit Inventory List**

*Before sealing this kit, make sure everything is in it, since you are responsible for the contents being correct. Remember to reseal the kit and* ***write your 75 number on the new seal****. If something is missing, correct it if you can, and then advise the supervisor of your findings.*

|  |  |
| --- | --- |
| **Nasal Airways-Check expiration date** | **Endotracheal Tubes- Check expiration date** |
| 22F x 1 | 5.0 x 1 |
| 24F x 1 | 5.5 x 1 |
| 26F x 1 | 6.0 x 2 |
| 28F x 1 | 6.5 x2 |
| 30F x 1 | 7.0 x 2 |
| 34F x 1 | 7.5 x 2 |
| 36F x 1 | 8.0 x 2 |
|  | 8.5 x 2 |
| Oral Airways 50, 60, 70, 80, 90, 100, 110, 120mm | 9.0 x 1 |
|  |  |
| Laryngoscope handle x 1 | Stylet x 2 Do Not destroy to fit in bag |
|  | Commercial tube holder x2 |
| **Laryngoscope Blade** | Face shields x 2 |
| Miller blades X 2 Light bulb tightened & works | Bite stick x1 |
| McIntosh Blades x3 Light bulb tightened & works | Endotracheal End tidal CO2 x 1 |
|  | Extra light bulbs x 2-3 of each |
| Lubricant x 5 packets | Batteries x 2 “C” |
| 10cc syringes x 2 |  |
| BAMM x1 | **Gloves** |
| Endojet x1 | Sterile x 2 pair |
| Tongue depressor | Non sterile x 2 pair in baggie |
| Forceps x 2 |  |